## Slide 1
INTERNATIONAL INNOVATION CHALLENGE 3.0
Theme- HealthTech · Problem Statement 12
Idea Title- RetinaEdge: offline, explainable DR screening
Team Name- MonoTitan
01

## Slide 2
Proposed solution: one retina photo → grade, visible evidence and a next step. Runs fully offline on a phone or laptop for ASHA and PHC workers.
How it works: live photo coach → DR grade 0–4 → lesion outlines → referral tier → Hindi / English sheet with QR.
Problem it fixes: 13–38% of field photos are “ungradable”; current AIs answer with a black-box yes/no.
Innovation: no internet, detects a missing lens, shows the lesions behind every grade, sends unsure cases to a human.
RETINAEDGE: EXPLAINABLE DR SCREENING
02
Validated on 733 held-out Indian images
• Sensitivity 97% · Specificity 93% · AUC 0.98
• Quadratic weighted kappa 0.91
• Photo coach: 7 faults, mean AP 0.99
• Cost per screen under ₹15 (Kerala programme: ₹2,129)

## Slide 3
Technologies
• Models: EfficientNet-B2 DR grader and MobileNetV3 photo coach trained by us; open U-Net lesion model (MIT)
• Backend: Python, FastAPI, ONNX Runtime, OpenCV, SQLite; 200 ms per image on a laptop CPU
• Frontend: React PWA, English + Hindi, light/dark, printable sheet with QR
• Data: APTOS 2019 (3,662 Indian images), IDRiD, 6,899 non-retina photos, phone-lens simulation
• Hardware: any phone or laptop; ₹8k lens adapter or any fundus camera
Methodology
Architecture and workflow
• 1 Capture: camera or upload; localiser crops the retina
• 2 Photo coach on every frame: green / yellow / red with the reason; red = retake
• 3 Grader: ICDR 0–4 with confidence and heat map
• 4 Lesion evidence: microaneurysms, haemorrhages, exudates outlined and counted
• 5 Decision: routine / recheck / refer / urgent / second look
• 6 Output: patient sheet + QR, local record, district dashboard
TECHNICAL APPROACH
03

## Slide 4
Feasibility
• Working prototype, demoed offline in 36 h
• Open data and weights; trained on a laptop GPU in 25 min
• No cloud, no special camera
• Regulatory path: CDSCO Class C SaMD
Challenges
• Phone-lens photos differ from training data
• Adjacent grades (1 vs 2, 3 vs 4) are hard
• Confidence is heuristic, not calibrated
• No clinical validation yet
Strategies
• Phone-lens simulation in training; mBRSET external test
• Second-look tier absorbs boundary cases
• Lesion model cross-checks the grader
• Referral action unaffected by adjacent-grade errors
FEASIBILITY AND VIABILITY
04

## Slide 5
Impact on the target audience
• 100 M+ Indians with diabetes, ~20 k eye doctors: screening moves to the village via ASHA workers
• Bad photos fixed before capture: fewer wasted visits and retakes
• Healthy people stay home: 93% specificity vs 54–65% for deployed field AIs
• Uncertain cases get a human second look, not a coin-flip verdict
Benefits
• Social: earlier treatment of a preventable cause of blindness; a sheet in the patient’s language
• Economic: under ₹15 per screen, no ₹4-lakh camera, no cloud fees, fewer false referrals
• System: dashboard shows why photos fail and whether referrals close; data never leaves the device
05
IMPACT AND BENEFITS

## Slide 6
Our MVP: working today, fully offline
• Web app on laptop or phone: patient → photo → result → printable sheet, plus records, second-look queue, dashboard
• Three trained/validated models: DR grader (QWK 0.91), photo & lens coach (AP 0.99), lesion outlines (Dice 0.68)
• Live photo coach: green / yellow / red with the reason; face or room photo is refused, not graded
• Every result carries a heat map, lesion counts, a plain-language reason and a confidence
Our edge over deployed systems (ARDA, EyeArt, Medios, Forus)
• Offline in a browser on a ₹10k phone; no ₹4-lakh camera, no cloud
• Coaches the capture and detects a missing lens; others only say “retake”
• Shows the lesions behind the grade; others return a black-box yes/no
• Second-look tier: 93% specificity vs 54–65% measured for field AIs in Punjab
06
OUR MVP AND OUR EDGE

## Slide 7
RESEARCH AND REFERENCES
• Beede et al., CHI 2020: Google ARDA in Thai clinics, 21% of photos rejected
• ARDA India, JAMA Network Open 2025: 86.9% gradable across 45 sites
• Remidio Medios trial, BMJ Open 2026: 38% ungradable in community screening
• Punjab PHC study, IJO 2026: field specificity 54–63%
• Sayres et al., Ophthalmology 2019: heat maps can mislead; lesion evidence preferred
• Datasets: APTOS 2019, IDRiD (CC BY 4.0), mBRSET (PhysioNet)
• Open weights: ClementP FundusDRGrading and fundus-lesions-toolkit (MIT)
• Kerala Nayanamritham cost study, Eye 2024: ₹2,129 per person screened
07